OBJECTIVE

To perform physico-chemical and microbiological analyses through an accredited laboratory.

PREVENTIVE MEASURES

- All the analyses that are performed on the mangos, soil and water are carried out by an external laboratory, which is accredited by a good laboratory practice (GLP) audit or with validated methods such as the FDA's Bacteriological Analytical Manual (BAM), the AOAC International or other validated test methods.

- The laboratory has the necessary documentation to prove the validity of the procedures and techniques it used.

- There is a schedule of tests to be performed (PRO-TESTS-1.5.1)

Sample collection

- The supervisor of the farm/orchard/estate schedules the appointment time for the sample collection with the external laboratory.

- The external laboratory is responsible for collecting the samples on the site and handling them properly during the journey to the laboratory.

- For microbiological samples, the external laboratory submits the protocol for the sample collection.

Results

- The manager of the safety plan analyzes the results to determine if they are within the permissible limits that mark the norm or the specifications of the external client.

- When the results are within the limits, it is considered that what has been analyzed is controlled.

- When results are outside of the parameters or limits, the manager of the safety plan reschedules another sampling to verify or assess that it is not a matter of a false alarm. In the case that it yields results that are outside permissible limits the manager of the safety plan must conduct an investigation that allows him to make the right decision to implement control measures for the analyzed sample.

- All results and/or corrective actions related to the samples are recorded in (REG-RESULTS-1.5.3).

- The manager of the safety plan for audit purposes files and safeguards the original documents.